## Slide 1: SCIAMACHY Quality Working Group (SQWG-3): Schedule / Work plan
S. Noël
IFE/IUP, University of Bremen, Germany

## Slide 2: To be discussed
What is open for the remaining WPs?
What is the schedule for the remaining WPs?
What inputs are required from whom at which time?

## Slide 3: Open Work Packages Level 1 (1)
WP2120: Investigate/improve ESM diffuser solar reference spectra
-> Open: implementation of new averaging of spectra (TN K. Bramstedt)
WP2140: Investigate/improve degradation correction
-> Updated mirror model parameters (SRON)
-> M-factor file with zero retarder (IUP/KB) -> no longer possible due to delay
-> Calculation of retarder parameters (IUP/PL)
-> Main output: Final m-factor file
WP2150: Investigate/improve polarisation key data
-> Open: documentation on errors of key data
WP2210: Investigate/improve and consolidate L1 errors
-> Output: Doc. describing sources of errors and how they are applied (reference to ATBD) -> To be written by DLR, reviewed by team

## Slide 4: Open Work Packages Level 1 (2)
WP2220: Investigate/improve dark correction
-> Open: Interpolation of NaNs
WP2230: Test degradation correction
-> Test for L1V9 depends on availability of reprocessed data (at least DDS)
-> Requires i/f to KNMI
WP2240: Investigate/improve spectral calibration ch 6+
-> Open: Offline generation of spectral data for calibration data base
WP2260: Investigate/improve polarisation determination and correction
-> Open: Implementation, verification
-> Time dependent retarder parameters?

## Slide 5: Open Work Packages Level 2
WP3110: Documentation and improvement of error calculation
-> not started yet, to be done after implementation
-> Doc. describing sources of errors and how they are applied (reference to ATBD) -> To be written by DLR, reviewed by team
WP3240: Tropospheric BrO
-> Discrepancies with AMFTROPO to be resolved
-> Implementation continuing
Validation (CCN1):
-> Full mission validation for L2V6 done
-> Validation of L2V7 (DDS & reprocessed data set) requires input data
Scientific products (status as presented; use of L1V9 tbc):
-> Nadir IO
-> Tropospheric O3 from Limb-Nadir matching
-> Limb aerosols
-> Limb water vapour
-> Limb clouds

## Slide 6: Other Open Work Packages (without ongoing activities & scientific products)
WP1300: SCIAMACHY Product Handbook maintenance
-> All to include changes in web version (copy); list of responsibilities to be agreed
WP3260: Link SCIAMACHY time series to follow-on sensors
-> First version of document ready
WP4100: Algorithm Baseline Maintenance and Evolution
-> Output: Baseline incl. documentation
WP4400: Review of documentation
-> Requires baseline documents
-> Review documentation for completeness based on a list provided by DLR.
-> Focus: Check if relevant information for a future data user is missing, no detailed individual review
WP4500: Verification of L1 and L2 data sets
-> Output: Verification document to be written by DLR
-> What inputs / activities are required
WP4600: Summary of L1 and L2 baseline status
-> Output: Document containing status of baseline and recommendations for improvements
-> First draft available, to be filled
WP4700 : Implementation of standard product format
-> new test products?